## Tabelle1
# | ist | Display-Name | Unit | StartValue | digits | hasPrio | de-Name | en-Name | Scope | Register Name
0 | 0 | Power-Total | W | 999 | 0 | true | Wirkleistung | Power | Gesamt | SDM_TOTAL_SYSTEM_POWER
1 | 6 | Freqency | HZ | 99.99 | 2 | false | Frequenz | Frequency | Gesamt | SDM_FREQUENCY
2 | 1 | ReactiveP | W | 999 | 0 | false | Blindleistung | Reactive | Gesamt | SDM_TOTAL_SYSTEM_REACTIVE_POWER
3 |  | ApparentP | W | 999 | 0 | false | Scheinleistung | Apparent | Gesamt | SDM_TOTAL_SYSTEM_APPARENT_POWER
4 | 3 | Neutral-Curr | A | 99.99 | 2 | false | Strom | Current | Gesamt | SDM_NEUTRAL_CURRENT
5 |  | L1-3-Curr | A | 99.99 | 2 | false | Strom L1-3 mittel | Current L1-3 mean | Gesamt | SDM_SUM_LINE_CURRENT
6 | 5 | PFactor | PF | 9.99 | 2 | false | cos(phi) | P-Factor | Gesamt | SDM_TOTAL_SYSTEM_POWER_FACTOR
7 |  | Energy-Sum | kWh | 99999.99 | 2 | false | Gesamtenergie | Energy Total | Gesamt | SDM_TOTAL_ACTIVE_ENERGY
8 | 7 | Power-L1 | W | 999 | 0 | false | Wirkleistung | Power | Phase1 | SDM_PHASE_1_POWER
9 | 8 | Power-L2 | W | 999 | 0 | false | Wirkleistung | Power | Phase2 | SDM_PHASE_2_POWER
10 | 9 | Power-L3 | W | 999 | 0 | false | Wirkleistung | Power | Phase3 | SDM_PHASE_3_POWER
11 |  | ReactiveP-L1 | W | 999 | 0 | false | Blindleistung | Reactive | Phase1 | SDM_PHASE_1_REACTIVE_POWER
12 |  | ReactiveP-L2 | W | 999 | 0 | false | Blindleistung | Reactive | Phase2 | SDM_PHASE_2_REACTIVE_POWER
13 |  | ReactiveP-L3 | W | 999 | 0 | false | Blindleistung | Reactive | Phase3 | SDM_PHASE_3_REACTIVE_POWER
14 | 13 | Voltage-L1 | V | 999 | 0 | false | Spannung | Voltage | Phase1 | SDM_PHASE_1_VOLTAGE
15 | 14 | Voltage-L2 | V | 999 | 0 | false | Spannung | Voltage | Phase2 | SDM_PHASE_2_VOLTAGE
16 | 15 | Voltage-L3 | V | 999 | 0 | false | Spannung | Voltage | Phase3 | SDM_PHASE_2_VOLTAGE
17 | 10 | Current-L1 | A | 99.99 | 2 | false | Strom | Current | Phase1 | SDM_PHASE_1_CURRENT
18 | 11 | Current-L2 | A | 99.99 | 2 | false | Strom | Current | Phase2 | SDM_PHASE_2_CURRENT
19 | 12 | Current-L3 | A | 99.99 | 2 | false | Strom | Current | Phase3 | SDM_PHASE_3_CURRENT
|  |  | PF |  |  |  | cos(phi) | P-Factor | Phase1 | SDM_PHASE_1_POWER_FACTOR
|  |  | PF |  |  |  | cos(phi) | P-Factor | Phase2 | SDM_PHASE_2_POWER_FACTOR
|  |  | PF |  |  |  | cos(phi) | P-Factor | Phase3 | SDM_PHASE_3_POWER_FACTOR
| 2 |  | A |  |  |  | Strom | Current | P1-3 | SDM_SUM_LINE_CURRENT
| 4 |  | V |  |  |  | Spannung L1-3 Diff mittel | Line2Line diff men | P1-P3 | SDM_AVERAGE_LINE_TO_LINE_VOLTS